## FIRST GEN
Pantabangan/Masiway Hydroelectric Plant
Pantabangan, Nueva Ecija
For : | Mr. R. P. Difuntorum
AVP/Pantabangan Cluster Head
J. E. MAPALO
| Plant Head | [8 empty] | DOR 01-27-2026 PHEP
Subject: | Daily Operational Report as of |  | January 27, 2026 (Tuesday) |  |  | (0000H-2400H) |  |  |  | DOR 01-27-2026B
A. Operational Data | [9 empty] | DOR_FGHPC_ECM20260127
A.1 | Gross Generation | Mas |  | Pan1 |  | Pan 2 |  | Pan Total | Plant Total
MWH Generated for the Day |  | 274 |  | 1174.75 |  | 792 |  | 1966.75 | 2240.75
MWH Generated for the Month |  | 6108.8 |  | 24462.5 |  | 23317.38 |  | 47779.88 | 53888.68
MWH Generated for the Year |  | 6108.8 |  | 24462.5 |  | 23317.38 |  | 47779.88 | 53888.68
% Difference w/ Billing meter today |  |  |  | 0.0017386 | 0 | 0.0033388 | 0 | 0.0023828
% Difference w/ Billing meter this month |  |  |  | 0.0084563 |  | 0.0055919 |  | 0.0070584
Operating Time |  | Online | Offline | Online | Offline | Online | Offline
|  | 0000H | 2400H | 0000H | 2400H | 0000H | 2400H
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0
On-Line Hours for the Day |  | 24 |  | 24 |  | 24 |  | 24
On-Line Hours For the Month |  | 604.37 |  | 571.73 |  | 600.7 |  | 622.73
Total Number of Start for the day |  | 0 |  | 0 |  | 0
Number of Failed Start for the day |  | 0 |  | 0 |  | 0
|  | Time | MW | Time | MW | Time | MW
Maximum Load |  | 0200H | 11.6 | 1600H | 60.4 | 0900H | 60
Minimum Load |  | 1300H | 11.2 | 1000H | 30.2 | 0200H | 28.3
Dependable Capacity |  | 12 |  | 60 |  | 60 |  | 120 | 132
Available Capacity |  | 12 |  | 60 |  | 60
Minimum Dependable Capacity |  | 1.1 |  | 28 |  | 28
A.2 | Performance Indices |  |  | Mas | Pan 1 | Pan 2 | Plant | Plant Complex
Availability Factor (%) |  | Today |  | 100 | 100 | 100 | 100 | 100
|  | This Month |  | 99.571 | 99.6281 | 100 | 99.814 | 99.788
|  | This Year |  | 99.571 | 99.6281 | 100 | 99.814 | 99.788
Capacity Factor ( % ) |  | Today |  | 95.1389 | 81.5799 | 55 | 68.2899 | 70.7307
|  | This Month |  | 78.5597 | 62.918 | 59.9727 | 61.4453 | 63.0012
|  | This Year |  | 78.5597 | 62.918 | 59.9727 | 61.4453 | 63.0012
Reliability Factor ( % ) |  | Today |  | 100 | 100 | 100 | 100 | 100
|  | This Month |  | 100 | 99.9182 | 100 | 99.9591 | 99.9635
|  | This Year |  | 100 | 99.9182 | 100 | 99.9591 | 99.9635
A.3 | Station Service |  |  |  | Mas | Pan S/S A | Pan S/S B | Pan Total
MWH Received while OFF line |  |  |  |  | 0 | 0 | 0 | 0
MWH Received while OFF line for the Month |  |  |  |  | 1.149 | 3.0314 | 1.8917 | 4.9231
MWH Used while ON line |  |  |  |  | 1.233 | 1.36 | 1.26 | 2.62
MWH Used while ON-line for the Month |  |  |  |  | 30.031 | 31.4486 | 30.5483 | 61.9969
Total MWH Used Today |  |  |  |  | 1.233 | 1.36 | 1.26 | 2.62
Total MWH Used This Month |  |  |  |  | 31.18 | 34.48 | 32.44 | 66.92
% of Station Power Used Today |  |  |  |  | 0.45 | 0.11577 | 0.15909 | 0.13321
% of Station Power Used This Month |  |  |  |  | 0.51041 | 0.14095 | 0.13912 | 0.14006
A.4 | Water Data | Masiway |  | Pantabangan Total |  | Irrigation Delivery Requirement (IDR)cms
|  | cms | mcm | cms | mcm
Releases for the Day |  | 77.0139 | 6.654 | 117.7512 | 10.1737 | IDR Notice:
Releases for the Month |  | 65.3007 | 152.3335 | 103.8909 | 242.3566 | Effective 26 January 2026 @ 1400H, NIA IDR; 115cms.
Inflow |  | 117.7512 | 10.1737 | 27.1997 | 2.3501
Water Spilled / Tunnel Released |  | 38.5417 | 3.33 | 0 | 0
Utilization rate (CM/KWH) |  | 24.2847 |  | 5.1729
Reservoir Elevation @ 0000H, masl |  | 128.19 |  | 211.13 |  | C.Y. 2026 | CO2 Emission Saved from
Reservoir Elevation @ 2400H, masl |  | 128.17 |  | 210.99 |  | Coal Fired Power Plant (Tons):
Rule Curve Elevation, masl |  |  |  | 213.916 |  | Today: | 2173.5275
Usable Storage (MCM) |  |  |  | 1406.6184 |  | This Year: | 52272.0196
Casecnan Releases |  |  |  | 12.6014 | 1.0888
A.5 | Production and Water Cost |  |  |  |  | Total
Estimated Cost of Water (Pesos/Day) |  | 73060.92 |  | 785308.4433 |  | 858369.3633
Estimated Cost of Water (Pesos/Kwh) |  |  | 0.26665 |  | 0.39929 |  | 0.38307
|  |  |  | Delivered |  |  | Received
|  |  |  | Unit 1 | Unit 2 | Total | X-former 1 | X-former 2 | Total
A.6 | Billing Meter Reading @ 2400H in MWH |  | Today | 1173.3696 | 790.7136 | 1964.0832 | 0 | 0 | 0
|  |  | This Month | 24428.9856 | 23285.5296 | 47714.5152 | 5.76 | 3.648 | 9.408
B. Remarks:
MHEP water spill was to compensate for the NIA IDR.
Prepared By: | B. R. PEREZ | [5 empty] | Approved by: | J. A. REYES
| Shift Charge Engineer | [5 empty] | Head of Plant Operations (OIC)
Doc. No. : FO-OP-001
Rev. : 0
Date : May 12, 2008
Page 1 of 1